## Specification
Specification table for battery-powered ultrasonic flow meter FLOMIC FL50xx.x |  |  | Code ON | Recommended value | Error message / note
Fill in all the white fields in column D sequentially from the top (to see the predefined values click to: |  |  | ) | The table serves as an attachment to the order or demand and for production.
Pol. | TYPE PLACEMENT
5 | Sensor design
6 | Flow meter equipment and design
- | TECHNICAL PARAMETERS | - | .1-
8 | Dimension of sensor / Pressure
9 | Sensor flanges
10 | Protection of Sensor with probes
11 | Bidirectional flow rate and indication
12 | Pressure sensor
13 | Current output
14 | Transmitter protection class
15 | Communication package |  |  |  |  | The parameters above are defining the design of the product.
- | CALIBRATION | - | -
17 | Calibration requirement
- | OTHER BUSINESS REQUIREMENTS | - | -
19 | Number of flowmeters units
20 | Language version of the manual
21 | Packing
22 | Method of transmission
23 | Warranty
- | RELATED REGULATIONS | - | -
25 | Flowmeter manual number
26 | Product ID (entered by ELIS)
| Ordering number |  |  | In case of possible copying of the Order No. listed on the left
| The complete order number is not generated until all parameters have been entered. |  |  | use function "Insert values" ("Vložit hodnoty")!
FL50.1----
| Here specify all parameters marked as NON-STANDARD (code ON = "x") |  |  | These parameters (item number - name):
Date
Company
Your inquiry / order number
Inquiry/Order No.
Customer´s responsible person
ELIS responsible person
Es90159F
Note on C8: Dimension of sensor DN [mm] / Pressure [bar]
Note on H8: If "#NENÍ_K_DISPOZICI" or "#NOT_AVAILABLE" appears here, delete the entry in column "D"!
Note on D17: By calibration, you always receive a Calibration sheet (protocol).
Note on D26: Product IDO (Bill of Material No. incl. execution) is entered here by an authorized ELIS employee, if the product is in the Helios database.
Note on C33: To type in this field, double-click in the field. (New Line = Alt + Enter)

## Data (hidden)
Provedení měřicího čidla | Kód | Prac.kód | Sloupec pro zápis návrhu úprav
Casting (EN 14154) - one beam | 2 | 2
Casting (EN 14154) - dual beam | 4 | 4
Casting short (ISO 4064) - one beam | 2 | 8
Casting short (ISO 4064) - dual beam | 4 | 9 |  | Tlakoměr | Typy čidel | [11 empty] | Casting - one beam 2
Weldment - one beam | 3 | 3 |  | NE | UC6.0 |  | UC3.0 / 3.2 |  | UC6.2 |  | UC5.0 / 5.2 |  | UC6.4 |  | UC6.6 |  | Casting - dual beam 4
Weldment - dual beam | 5 | 5 |  | ANO | UC6.1 |  | UC3.1 / 3.3 |  | UC6.3 |  | UC5.1 / 5.3 |  | UC6.5 |  | UC6.7 |  | Weldment - one beam 3
Vybavení a provedení průtokoměru |  |  |  |  | Dimenze čidla / tlak a objednací číslo v závislosti na provedení čidla | [11 empty] | Weldment - dual beam 5
Compact (COMFORT) | 4 |  |  | Prac. | Odlitek EN |  | Svařenec |  | Odlitek EN |  | Svařenec |  | Odlitek kratší |  | Odlitek kratší
Remote (COMFORT) | 5 |  |  | kód | 1 paprsek | Kód | 1 paprsek | Kód | 2 paprsky | Kód | 2 paprsky | Kód | 1 paprsek | Kód | 2 paprsky | Kód
Dimenze čidla / tlak / počet paprsků |  |  |  |  | 2 |  | 3 |  | 4 |  | 5 |  | 8 |  | 9
[5 empty] | 32/16 | 01 | 32/40 | 21 | 65/16 | 11 | 40/40 | 41 | 50/16 | 81 | 50/16 | 91
First enter the Sensor version (in line 5)! |  |  |  |  | 40/16 | 02 | 40/40 | 22 | 80/16 | 12 | 50/40 | 42 | 65/16 | 82 | 65/16 | 92
[5 empty] | 50/16 | 03 | 50/40 | 23 | 100/16 | 13 | 65/40 | 43 | 80/16 | 83 | 80/16 | 93
[5 empty] | 65/16 | 04 | 65/40 | 24 | 125/16 | 14 | 80/40 | 44 | 100/16 | 84 | 100/16 | 94
[5 empty] | 80/16 | 05 | 80/40 | 25 | 150/16 | 15 | 100/40 | 45 | 125/16 | 85 | 125/16 | 95
[5 empty] | 100/16 | 06 | 100/40 | 26 | 200/16 | 16 | 125/40 | 46 | 150/16 | 86 | 150/16 | 96
[5 empty] | 125/16 | 07 | 125/40 | 27 |  |  | 150/40 | 47 | 200/16 | 87 | 200/16 | 97
[5 empty] | 150/16 | 08 | 150/40 | 28 |  |  | 200/40 | 48
[5 empty] | 200/16 | 09 | 200/40 | 29 |  |  | 250/40 | 49
[7 empty] | 250/40 | 31 |  |  | 300/40 | 51
[7 empty] | 300/40 | 32 |  |  | 100/16 | 52
[7 empty] | 100/16 | 33 |  |  | 125/16 | 53
[7 empty] | 125/16 | 34 |  |  | 150/16 | 54
[7 empty] | 150/16 | 35 |  |  | 200/16 | 55
[7 empty] | 200/16 | 36 |  |  | 250/16 | 56
[7 empty] | 250/16 | 37 |  |  | 300/16 | 57
[7 empty] | 300/16 | 38
Příruby čidla
EN 1092-1 | 1
ASME (ANSI) B16.5 | 2
AS 4087 | 3
JIS B2210 | 4
Non-standard | x
Krytí čidla se sondami
IP 67 | 1
IP 68 | 2
Obousměrné měření průtoku
No | 0
Yes - 2x pulse output | 1
Yes - current + binary output | 2
Měření tlaku
No | 0
Yes (0–16 BAR, by compact version only) | 1
Proudový výstup
No | 0
Yes - FLOW RATE | 1
Yes - PRESSURE | 2
Krytí skříňky vyhodnocovací elektroniky
IP 67 | 1
IP 68 | 2
Sada pro práci s archivem
No | 0
SVAO 1 (ArchTermC + optical head) | 1
SVAK 1 (ArchTermC + RS 232 cable) | 2
SVAK 2 (ArchTermC + interconnecting box + RS 232 cable) | 3
Kalibrace / Metrologický požadavek
Without calibration | 0
Standard calibration in 3 points | 3
Above standard calibration in 5 points | 5
Above standard calibration in 7 points | 7
Non-standard | x
Metrological verification without protocol (?) | Zatím není do nabídky zahrnuto
Metrological verification with protocol | Zatím není do nabídky zahrnuto
Počet kusů
Není nabízen z tohoto listu
Jazyková verze nanuálu
Czech | 1
English | 2
Balení
Unpacked | 0
Standard | 1
Non-standard | x
Způsob předání
Personal collection | 1
Forwarding service at the supplier's expense | 2
Forwarding service at the customer's expense | 3
Non-standard | x
Záruka
6 months | 1
12 months (standardly) | 2
18 months | 3
24 months | 4
36 months | 5
Non-standard | x
Evidenční číslo manuálu průtokoměru
Es90414K/f | 1
Es90734K | 2
Note on C1: Pracovní kód pro nabídku rozsahu DN
Note on J18: Prázdná pole musí mít zadanou mezeru!
Note on K18: Prázdné pole vyplnit dle vzoru ("")
Note on N19: Prázdná pole musí mít zadanou mezeru!
Note on O19: Prázdné pole vyplnit dle vzoru ("")
Note on P19: Prázdná pole musí mít zadanou mezeru!
Note on Q19: Prázdné pole vyplnit dle vzoru ("")
Note on F21: Prázdná pole musí mít zadanou mezeru!
Note on G21: Prázdné pole vyplnit dle vzoru ("")
Note on L28: Prázdná pole musí mít zadanou mezeru!
Note on M28: Prázdné pole vyplnit dle vzoru ("")
Note on A87: Nenabízí se, dosazuje se automaticky.

## Tech (hidden)
Objednací číslo |  |  |  | Počet nezadaných hodnot: | 17 | Nestandardní parametry - souhrn:
|  |  |  | HW část: | 9
Pozice | Kód | Název | Hodnota
0 | FL50 |  |  |  |  | Nestandardní parametry
5 |  | Sensor design | 0
6 |  | Flow meter equipment and design | 0
- | .1- | TECHNICAL PARAMETERS | -
8 |  | Dimension of sensor / Pressure | 0
9 |  | Sensor flanges | 0
10 |  | Protection of Sensor with probes | 0
11 |  | Bidirectional flow rate and indication | 0
12 |  | Pressure sensor | 0
13 |  | Current output | 0
14 |  | Transmitter protection class | 0
15 |  | Communication package | 0
- | - | CALIBRATION | -
17 |  | Calibration requirement | 0
- | - | OTHER BUSINESS REQUIREMENTS | -
19 |  | Number of flowmeters units | 0
20 |  | Language version of the manual | 0
21 |  | Packing | 0
22 |  | Method of transmission | 0
23 |  | Warranty | 0
- | - | RELATED REGULATIONS | -
25 |  | Flowmeter manual number