## Specifikace
Specification table for battery-powered screw-type ultrasonic flow meter FLOMIC FL5034F |  |  | Code ON | Recommended value | Error message / note
Fill in all the white fields in column D sequentially from the top (to see the predefined values click to: |  |  | ) | The table serves as an attachment to the order or demand and for production.
Pol. | TYPE PLACEMENT
5 | Sensor design | Weldment - one beam | 3
6 | Flow meter equipment and design | Compact (COMFORT) | 4
- | TECHNICAL PARAMETERS | - | F-
8 | Dimension of sensor - Pressure
9 | Protection of Flow meter
10 | Bidirectional flow rate and indication
11 | Pressure sensor
12 | Current output
13 | Communication package |  |  |  |  | The parameters above are defining the design of the product.
- | CALIBRATION | - | -
15 | Calibration requirement
- | OTHER BUSINESS REQUIREMENTS | - | -
17 | Number of flowmeters units
18 | Language version of the manual
19 | Packing
20 | Method of transmission
21 | Warranty
- | RELATED REGULATIONS | - | -
23 | Flowmeter manual number
24 | Product ID (entered by ELIS)
| Objednací číslo |  |  | In case of possible copying of the Order No. listed on the left
| The complete order number is not generated until all parameters have been entered. |  |  | use function "Insert values" ("Vložit hodnoty")!
#REF!
| Here specify all parameters marked as NON-STANDARD (code ON = "x") |  |  | These parameters (item number - name):
Date
Company
Your inquiry / order number
Inquiry/Order No.
Customer´s responsible person
ELIS responsible person
Es90161F
Note on D15: By calibration you always receive a Calibration sheet (protocol).
Note on C31: Abyste mohli do tohoto pole zapisovat, poklepejte v něm myší (2x klepněte - zobrazí se kurzor ...). (Nový řádek = Alt+Enter)

## Data (hidden)
Dimenze čidla (UC 3.15F), tlak | Kód | Sloupec pro zápis návrhu úprav
2" PN16 | 1
2 ½" PN16 | 2
3" PN16 | 3
4" PN16 | 4
Krytí průtokoměru
IP 67 | 1
IP 68 | 2
Obousměrné měření průtoku
No | 0
Yes - 2x pulse output | 1
Yes - current + binary output | 2
Měření tlaku
No | 0
Yes (0–16 BAR rel) | 1
Proudový výstup
No | 0
Yes - FLOW RATE | 1
Yes - PRESSURE | 2
Sada pro práci s archivem
No | 0
SVAO 1 (ArchTermC + optical head) | 1
SVAK 1 (ArchTermC + RS 232 cable) | 2
SVAK 2 (ArchTermC + interconnecting box + RS 232 cable) | 3
Kalibrace
Without calibration | 0
Standard calibration in 3 points | 3
Above standard calibration in 5 points | 5
Above standard calibration in 7 points | 7
Non-standard | x
Počet kusů
Není nabízen z tohoto listu
Jazyková verze nanuálu
Czech | 1
English | 2
Balení
Unpacked | 0
Standard | 1
Non-standard | x
Způsob předání
Personal collection | 1
Forwarding service at the supplier's expense | 2
Forwarding service at the customer's expense | 3
Non-standard | x
Záruka
6 months | 1
12 months (standardly) | 2
18 months | 3
24 months | 4
36 months | 5
Non-standard | x
Evidenční číslo manuálu průtokoměru
Es90414K/f | 1
Note on A53: Nenabízí se, dosazuje se automaticky.
Note on C53: Nenabízí se, dosazuje se automaticky.

## Tech (hidden)
Objednací číslo |  |  |  | Počet nezadaných hodnot: | 13 | Nestandardní parametry - souhrn:
|  |  |  | HW část: | 5
Pozice | Kód | Název | Hodnota
0 | FL50 |  |  |  |  | Nestandardní parametry
5 | 3 | Sensor design | Weldment - one beam
6 | 4 | Flow meter equipment and design | Compact (COMFORT)
- | F- | TECHNICAL PARAMETERS | -
8 |  | Dimension of sensor - Pressure | 0
9 |  | Protection of Flow meter | 0
10 |  | Bidirectional flow rate and indication | 0
11 |  | Pressure sensor | 0
12 |  | Current output | 0
13 |  | Communication package | 0
- | - | CALIBRATION | -
15 |  | Calibration requirement | 0
- | - | OTHER BUSINESS REQUIREMENTS | -
17 |  | Number of flowmeters units | 0
20 |  | Language version of the manual | 0
19 |  | Packing | 0
20 |  | Method of transmission | 0
21 |  | Warranty | 0
- | - | RELATED REGULATIONS | -
23 |  | Flowmeter manual number